# NORTH LANARKSHIRE COUNCIL

# ENTERPRISE & COMMUNITIES

# INFRASTRUCTURE & TRANSPORTATION

CONSTRUCTION CONSENT – STAGE 2 CHECKLIST

| Reference Number | CC/NLC/ |
| --- | --- |
| Site |  |
| Developer |  |
| Check Number |  |
| Checked By |  |
| Date Checked |  |
| Results |  |
| Meeting Arranged For |  |
| Letter Sent On (After Meeting) |  |
| Letter Sent On (Without Meeting) |  |

# NORTH LANARKSHIRE COUNCIL

# ENTERPRISE & COMMUNITIES

# INFRASTRUCTURE & TRANSPORTATION

CONSTRUCTION CONSENT – STAGE 2 CHECKLIST

| Reference | Longitudinal Sections | N/A | Y | N | Comments (Official Use Only) |
| --- | --- | --- | --- | --- | --- |
| P13, 5.2c | Vertical alignment details shown? |  |  |  |  |
| TBL 1-5 | Gradients ok (not > 8%, not < 0.8%) Note: roads with vertical traffic calming measures to be <5% |  |  |  |  |
| TBL 1-5 | Vertical curve lengths correct? |  |  |  |  |
| P13, 5.2c | Surface water drain gradients shown & correct? |  |  |  |  |
| P13, 5.2c | Manhole positions shown? |  |  |  |  |
|  | Sub strata detailed to 1m below formation? |  |  |  |  |
| P13, 5.2c | ##### Chainages shown? |  |  |  |  |
|  | ##### Proposed & existing levels shown? |  |  |  |  |

# NORTH LANARKSHIRE COUNCIL

# ENTERPRISE & COMMUNITIES

# INFRASTRUCTURE & TRANSPORTATION

CONSTRUCTION CONSENT – STAGE 2 CHECKLIST

| Reference | Road Layout | N/A | Y | N | Comments (Official Use Only) |
| --- | --- | --- | --- | --- | --- |
| P13, 5.2b i | Centre, building & kerb lines shown? |  |  |  |  |
| P13, 5.2b ii | All curve radii shown? |  |  |  |  |
| P29, TBL 7 | All corner radii shown? |  |  |  |  |
| TBL 1-5 | ##### Minimum curve sizes ok? |  |  |  |  |
| T6-SH3/82 | Curve widening required? |  |  |  |  |
|  | Curve widening adequately detailed? |  |  |  |  |
| P33, FIG.9 | Turning areas of correct dimensions? |  |  |  |  |
| P38, FIG.11 | Shared surface transitions dimensioned? |  |  |  |  |
| P13, 5.2b iv | Dropped kerb vehicular accesses shown? |  |  |  |  |
| P13, 5.2b v | Dropped kerb pedestrian crossings shown? |  |  |  |  |
| P13, 5.2b iii | Visibility splays shown? |  |  |  |  |
| NLC active travel standard | Carriageway & footway widths shown? |  |  |  |  |
| P13, 5.2b x | Cut & fill slopes shown? |  |  |  |  |
|  | Confirm all slopes < 1 in 3 by note on drawing |  |  |  |  |
|  | 0.5m berm provided at the rear of footway and adjacent to embankments |  |  |  |  |
| P47, FIG.16 | Parking bays dimensioned? |  |  |  |  |
|  | Areas of different carriageway construction shown? |  |  |  |  |
|  | 2m wide service strip (verge or footway) shown on both sides of road? |  |  |  |  |

| Reference | Road Layout – Notes to be Included | N/A | Y | N | Comments (Official Use Only) |
| --- | --- | --- | --- | --- | --- |
|  | Confirm no structures supporting the adopted road network, by note on drawing |  |  |  |  |
|  | All works to be done in accordance with the specification for highway works, as amended |  |  |  |  |
|  | No unauthorised advertising signs will be erected in contravention of section 100 of the Roads (Scotland) Act 1984. |  |  |  |  |
|  | All temporary signing to be submitted to NLC roads maintenance team for approval prior to erection |  |  |  |  |

# NORTH LANARKSHIRE COUNCIL

# ENTERPRISE & COMMUNITIES

# INFRASTRUCTURE & TRANSPORTATION

CONSTRUCTION CONSENT – STAGE 2 CHECKLIST

| Reference | Drainage Layout | N/A | Y | N | Comments (Official Use Only) |
| --- | --- | --- | --- | --- | --- |
| P55, 25.10 | All crossfalls & cambers shown? (n.b. 2.5 % camber except curves where 2.5% crossfall permitted, blockwork to have 2.5% crossfall) |  |  |  |  |
|  | Chainages shown? |  |  |  |  |
| P57,26,T14 | Gullies at correct spacings? |  |  |  |  |
| P57, 26.5 | Drainage of irregular areas adequate? |  |  |  |  |
| P13, 5.2b vi | Drainage systems & discharge points shown? |  |  |  |  |
| P57, 26.1 | Gulley tails shown? (min 150mm) |  |  |  |  |
|  | Double gullies at low points? |  |  |  |  |
| P57, 26.3a | Gullies just upstream of tangent point’s at junctions? |  |  |  |  |
| P57, 26.3b | Gully at point of removal of adverse camber? (note: housing road no need to remove adverse camber) |  |  |  |  |
| P57, 26.2 | Adjacent areas likely to drain onto roads? (e.g. Due to embankment & cutting) |  |  |  |  |
| P57, 26.2 | If so, have land drains been incorporated? (n.b. land drains to connect to sw system via silt traps) |  |  |  |  |
| P57, 26.5 | Drainage of irregular areas adequate? |  |  |  |  |
|  | Are non-adoptable areas adequately drained? (n.b. if not, might issue onto public road) |  |  |  |  |
|  | Gullies off driveways where possible? |  |  |  |  |

# NORTH LANARKSHIRE COUNCIL

# ENTERPRISE & COMMUNITIES

# INFRASTRUCTURE & TRANSPORTATION

CONSTRUCTION CONSENT – STAGE 2 CHECKLIST

| CONSTRUCTION DETAILS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reference | Carriageway, Footway and Footpath Section | N/A | Y | N | Comments (Official Use Only) |
| 25.3. SH6/87 | Carriageway construction correct? (surface course to be 50mm) |  |  |  |  |
| TBL 13 | Footway construction correct? (30mm surface course, 50mm binder course) |  |  |  |  |
| TBL 13 | Footway chippings included & detailed? |  |  |  |  |
| P49, 23.4 | For shared surface roads - continuous demarcation of service strip shown & correct? |  |  |  |  |
| P53, 25.7 | Shared surface roads should have a gradient no greater than 3% |  |  |  |  |
| P38 FIG 11 | For shared surface roads - ramp shown & correct? |  |  |  |  |
| P53, FIG18 | Crossfalls/ camber detailed? (shared surface roads to be in crossfall) |  |  |  |  |
| SH6/87 | Capping layer shown & correct? |  |  |  |  |

| Reference | Kerbing |  | N/A | Y |  | N |  | Comments (Official Use Only) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FIGS18&19 | Kerb types specified & correct? |  |  |  |  |  |  |  |
| Reference | ###### Bollards |  | N/A | Y |  | N |  | Comments (Official Use Only) |
|  | Bollards to be rebound, black in colour, with reflective bands and type approved by NLC |  |  |  |  |  |  |  |
| Reference | Drainage Details |  | N/A | Y |  | N |  | Comments (Official Use Only) |
| P58 | Gulley / silt trap detail |  |  |  |  |  |  |  |
|  | Gulley covers and frames to be d400 with captive hinge specified? (note: - grade to be BS EN 124:1994) |  |  |  |  |  |  |  |
|  | 25mm MORTAR BED SHOWN? |  |  |  |  |  |  |  |
| P55 | Footway crossing with verge ok? |  |  |  |  |  |  |  |
| P55 | Footway crossing without verge ok? |  |  |  |  |  |  |  |
| P56 | Pedestrian crossing point ok? |  |  |  |  |  |  |  |
|  | Confirmation indicating the extent of the drainage network being adopted by Scottish water |  |  |  |  |  |  |  |
|  | Copy of SEPA/Scottish water approval for proposed discharge, where applicable. |  |  |  |  |  |  |  |
| NLC SPG09 | Flood Risk Statement/Assessment (note: This must be certified by a suitably experienced Chartered Engineer, and a copy of the certification must be provided) |  |  |  |  |  |  |  |
| NLC SPG09 | Drainage Assessment (note: This must be certified by a suitably experienced Chartered Engineer, and a copy of the certification must be provided) |  |  |  |  |  |  |  |
| Reference | Services |  | N/A | Y |  | N |  | Comments (Official Use Only) |
| P48, FIG17 | Services cross section ok? (i.e. All affected areas of existing road to have proposed & existing services detailed) (show position of valves and chambers) |  |  |  |  |  |  |  |
| Reference | Structures |  | N/A | Y |  | N |  | Comments (Official Use Only) |
|  | Retaining walls, bridges and culverts? |  |  |  |  |  |  |  |
| P10, 5.3 | Approval in Principle (AIP) document as per DMRB ‘Technical Approval of Highway Structures’ where the submission includes a structure (e.g. retaining walls, bridges and culverts). |  |  |  |  |  |  |  |
| P10,5.3 | Design and Check certificate as per DMRB ‘Technical Approval of Highway Structures’, certificate signed by a CEng MICE or CEng MIStructE qualified engineer (to follow accepted AIP) |  |  |  |  |  |  |  |
|  | Road restraint system assessment carried out? |  |  |  |  |  |  |  |

Additional Comments