Changes to North Lanarkshire Council street lighting specification.

- All proposed lighting columns and sign columns shall be aluminium, with plastic root protector to BS EN 40 with 50-year design life.

- Raise and lower columns shall be aluminium, one-man handling for lowering and lifting, Designed to BS EN 40 with 50-year design life, Hydro HiLo or equivalent.

- All luminaires shall be 3000K or less as required by ecological survey requirements.

- All luminaire drivers for residential streets and spine roads shall be pre-set to dim to 70% output from 00.00 – 06.00.

- All luminaires shall be equipped with CMS-compatible drivers incorporating standard node connectors and quarter-turn protective covers to ensure environmental sealing and maintain IP rating when a node is not installed.